Ambient Systems

Product Requirements Document

Feb 28, 2021

Version: 01

Intro & Goal

Ambient’s goal is to empower building owners to easily manage the indoor climate. Others in this space are mostly focusing on optimizing a single goal, such as reducing energy costs. Ambient’s end-to-end hardware stack, dashboard, and optimization model leverage latest innovations in machine learning to manage multiple critical yet competing priorities.

Who it’s for?

- Facility Managers/Operators

- Building Owners

Why built it?

- Managing indoor climate is becoming increasingly complex

- Competing priorities are difficult to balance (e.g., reduce energy costs but meet required air quality standards)

- Indoor air quality is increasingly important with increasing air pollution and indoor pathogens

- One market segment (indoor farms) in particular has very few options available

- Related technologies (IoT and ML) are becoming more affordable

What is it?

- Indoor climate optimization model based on cutting-edge building science

- Enabling hardware: sensors, controllers, and related attachments

- Web-based dashboard

Schematic

More detailed scope:

- One or more environmental sensors that collect the following parameters: temperature, humidity, CO2, light, and others

- One or more controller nodes that provide instructions to one or more pieces of HVAC equipment

- Software Platform based on the following specifications:

  - Multi-page dashboard

  - Displays data collected by sensors

  - Provides an overview of equipment connected to the system

  - Allows user to send control instructions to the equipment through the platform (e.g., adjust temperature, fan speed, humidifier, purifier, etc.)

  - Provides recommended setpoints for various equipment based on environmental data

List of Key Features:

- Data Analytics:

  - Display data collected by sensors {ID, sensor_reading1, max_ sensor_reading2, time_stamp}

  - Display inventory of equipment {ID, min_set, max_set, current_set, time_stamp}

  - Display indoor map with equipment {ID, room_location, area, height, equipment_located}

- Optimization:

  - Radar Chart: balancing priorities

  - Control chart (scatter graph): identify trends and boundary conditions

- Controls:

  - Input priorities

  - Present optimization recommendations, review, and accept

  - Input equipment settings

  - Send equipment instructions (i.e., set points)

- Connections:

  - Connect sensor readings to dashboard

  - Connect equipment controller node to the dashboard

- Infrastructure

  - User log-in

  - Databases API

  - Notifications: sensor reading, equipment setting

  - Load-balancing

  - Backup

Key Milestones:

| Date | Milestone | Description |
| --- | --- | --- |
| March 1 | Kick-off | Confirm scope and approach |
| March 5 | Outsource | Confirm developer resource |
| March 14 | Launch v0.1 | Launch the product by recording a demo of a basic dashboard for customers (front-end) |
| March 28 | Release v0.2 | Improvements to front-end (additional charts and pages) |
| April 11 | Release v0.3 | Core optimization algorithm completed based on public + simulated data Improvements to front-end (additional charts and pages) |
| May 2 | Release v0.4 | Data collected by sensors displayed in real-time Equipment setpoints can be configured Improvements to front-end (additional charts and pages) |
| May 17 | Completed MVP (v1.0) | Functional MVP completed for GRIP investment pitch (that can be sold to customers) |

Platform Options

| Option | Link | Benefits | Cons |
| --- | --- | --- | --- |
| From Scratch | N/A | Full flexibility | Resource intensive |
| Things Board | https://thingsboard.io/ | Ready to use | Cost ($100+ / month) Setup time Integration |
| ThingSpeak | https://thingspeak.com/ | Ready to use | Setup time Integration |

APPENDIX

Different types of graphs and charts:

- https://visme.co/blog/types-of-graphs/