Ambient Systems

Engineering Documentation

Date: Jan 25, 2022

Introduction:

This document describes the engineering MVP designs.

There are several key entities as part of the overall model.

| Entity | Variable | Data Type | Value Range | Distribution Type and Function |
| --- | --- | --- | --- | --- |
| Zone | Dimension |  |  |  |
| Sensor | Parameter Reading 1 |  |  |  |
|  | Parameter Reading 2 |  |  |  |
| Equipment | Setpoint |  |  |  |
|  | Outlet reading |  |  |  |
| Occupant | Location |  |  |  |
|  | Preference |  |  |  |

Data Joins

- Join Sensor and Equipment on Time

- Join Sensor and Zone on Location

- Join Equipment and Zone on Location

End Dataset

| Time | Sensor Reading x 5 | Equipment Reading x 5 | Occupant |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Input or Event |  |  |

Data Analysis Functions

Zone: determined through clustering sensor and equipment readings (X and Y)

Sensor & Equipment Readings rolled up based on the time interval that the occupant provides an input

Cost function makes a tradeoff using the objective function

What is the cost function?

C_total = w_1 * O_1 + w_2 * O_2 + w_3 * O_3

O_1: energy consumption

O_2: indoor air quality

O_3: user comfort

O_1 = sum_equipment (W * hr)

O_2 = % within range at each zone (based on sensor data)

O_3 = user input preferences via app or thermostat

Model calculates correlation between equipment and each of the objectives

Calculates minimal total costs

Provides recommended equipment settings to achieve them